Guidelines for Cross-Vendor DICOM Testing

Title:			Application Entities Interconnectivity

Association Services  -  Association Establishment

Level_2 Test-Case Specification Template

Document ID:		1.2.840.113702.1.2.5.1

Version Date:		10/20/95

Applications Entities Interconnectivity

Association Services  -  Association Establishment

Level_2 Test-Case Specification Template

i)	Purpose:

The purpose of a Test-Case Specification document is to define a test case identified by a test design specification

ii)	Outline:

A test-case specification shall have the following structure:

1.	Test-case-specification identifier

2.	Test items

3.	Input specification

4.	Output specification

5.	Environmental needs

6.	Special procedural requirements

7.	Intercase dependencies

1.	Test-Case-Specification Identifier

The test-case-specification identifier shall be a unique identifier for both suppliers of the Application Entities to be tested.

| Test Case | Test Case Description | Test-Case-Specification Identifier |
| --- | --- | --- |
| A-ASSOCIATE | Establish an Association | Specified by testing team |

2.	Test Items

The test items involved are the two Application Entities being tested for interconnectivity.

For each test item, reference the following documentation:

Requirements specification

Design specification

Users guide

Operations guide

Installation guide

DICOM Standard, ACR/NEMA Standards Publication No. PS 3

The Conformance Statement of each Application Entity to be tested.

3.	Input Specifications

Specify each input required to execute the test case, by value, by filename, etc.

Identify all appropriate data bases, files, terminal messages, memory resident areas, etc.

Specify all relationships between inputs.

The input specifications required for testing the A-ASSOCIATE Upper Layer service shall be the user interaction required to cause the requestor Application Entity to issue an A-ASSOCIATE request.

Documented as part of the input specification for the test of the A-ASSOCIATE service primitive shall be the following items:

Application Context

Presentation Contexts

User Information Items

Two user interaction input steps are required at the requestor Application Entity to:

1.	cause the A-ASSOCIATE Upper Layer service to be invoked, and

2.	cause the C-ECHO DIMSE service to be invoked to confirm that the A-ASSOCIATE service has been successful.

4.	Output Specifications

Specify all the outputs and features required of the test items.

The output and features expected of the Application Entities for successful execution of the A-ASSOCIATE service are as follows:

Output:

Log files entries:

Event Level Information:

| Requestor | Service Primitive Direction |  | Acceptor |
| --- | --- | --- | --- |
| A-ASSOCIATE request |  |  |  |
|  |  |  | A-ASSOCIATE indication |
|  |  |  | A-ASSOCIATE response |
| A-ASSOCIATE confirmation |  |  |  |
| Note: At this point, the Association request may have been accepted of rejected. If the Association has been accepted, then either Application Entity may test for connectivity at the application level by issuing the DIMSE C-ECHO service primitive. |  |  |  |
| C-ECHO request |  |  |  |
|  |  |  | C-ECHO indication |
|  |  |  | C-ECHO response |
| C-ECHO confirmation |  |  |  |

Data Level Information:

The data recorded from testing the A-ASSOCIATE service primitive should include whether the Association was Accepted or Rejected, the Presentation Contexts accepted or rejected, the Transfer Syntax accepted for each accepted Presentation Context, and the agreed upon user items.

Features:

At this point, the association between the two Application Entities should be established and ready for message transfer.

5.	Environmental Needs

5.1		Hardware

The computer system required for each of the Application Entities is as defined by the respective suppliers of the Application Entities.

The assumption is that the systems are networked together and therefore the appropriate hardware connections to the respective networks are required.

5.2		Software

The system and application software required for each of the Application Entities is as defined by the respective suppliers of the Application Entities.

The defined communication modes for DICOM are: 1) OSI,  2) TCP/IP,  3) Point-to-Point. The assumption is that each system has the appropriate communication software available to the Application Entiry.

5.3		Other environmental requirements

6.	Special Procedural Requirements

7.	Intercase Dependencies

The A-ASSOCIATE service must be tested successfully before any other association services or DIMSE services can be tested.