Guidelines for Cross-Vendor DICOM Testing

Title:			Application Entities Interconnectivity

Association Services  -  Association Release

Level_2 Test-Case Specification Template

Document ID:		1.2.840.113702.1.2.6.1

Version Date:		10/20/95

Application Entities Interconnectivity

Association Services  -  Association Release

Level_2 Test-Case Specification Template

i)	Purpose:

To define a test case identified by a test design specification

ii)	Outline:

A test-case specification shall have the following structure:

1.	Test-case-specification identifier

2.	Test items

3.	Input specification

4.	Output specification

5.	Environmental needs

6.	Special procedural requirements

7.	Intercase dependencies

1.	Test-Case-Specification Identifier

The test-case-specification identifier shall be a unique identifier for both suppliers of the Application Entities to be tested.

| Test Case | Test Case Description | Test-Case-Specification Identifier |
| --- | --- | --- |
| A-RELEASE | Release an Association | Specified by testing team |

2.	Test Items

The test items involved are the two Application Entities being tested for interconnectivity.

For each test item, reference the following documentation:

Requirements specification

Design specification

Users guide

Operations guide

Installation guide

DICOM Standard, ACR/NEMA Standards Publication No. PS 3

The Conformance Statement of each Application Entity to be tested.

3.	Input Specifications

Specify each input required to execute the test case, by value, by filename, etc.

Identify all appropriate data bases, files, terminal messages, memory resident areas, etc.

Specify all relationships between inputs.

The input specifications required for testing the A-RELEASE Upper Layer service shall be the user interaction required to cause the requestor Application Entity to issue an A-RELEASE request.

Depending on the level of control afforded to an operator by the designers and implementers, the testers may also be able to explicitly test for the case of  ‘Association release service procedure collision’.

The assumption in this test is that the A-ASSOCIATE service has previously been successfully invoked.

4.	Output Specifications

Specify all the outputs and features required of the test items.

The output and features expected of the Application Entities for successful execution of the A-RELEASE service are as follows:

Output:

Log files entries:

Event Level Information:

Normal Association Release

| Requestor | Service Primitive Direction |  | Acceptor |
| --- | --- | --- | --- |
| A-RELEASE request |  |  |  |
|  |  |  | A-RELEASE indication |
|  |  |  | A-RELEASE response |
| A-RELEASE confirmation |  |  |  |

Association Release Service Collision

| Association Requestor | Service Primitive Direction |  | Association Acceptor |
| --- | --- | --- | --- |
| A-RELEASE request |  |  | A-RELEASE request |
| A-RELEASE indication |  |  | A-RELEASE indication |
| A-RELEASE response |  |  |  |
|  |  |  | A-RELEASE confirmation |
|  |  |  | A-RELEASE response |
| A-RELEASE confirmation |  |  |  |

Features:

At this point, the association between the two Application Entities has been released and no further communication is allowed.

5.	Environmental Needs

5.1		Hardware

The computer system required for each of the Application Entities is as defined by the respective suppliers of the Application Entities.

The assumption is that the systems are networked together and therefore the appropriate hardware connections to the respective networks are required.

5.2		Software

The system and application software required for each of the Application Entities is as defined by the respective suppliers of the Application Entities.

The defined communication modes for DICOM are: 1) OSI,  2) TCP/IP,  3) Point-to-Point. The assumption is that each system has the appropriate communication software available to the Application Entiry.

5.3		Other environmental requirements

6.	Special Procedural Requirements

7.	Intercase Dependencies

The A-ASSOCIATE service must be tested successfully before the A-RELEASE service can be tested.

In performing the test for the A-RELEASE service, the A-ASSOCIATE must be successfully invoked before the A-RELEASE service can be invoked.