Guidelines for Cross-Vendor DICOM Testing

Title:			Application Entities Interconnectivity

Association Services  -  DIMSE C-ECHO Test

Level_2 Test-Case Specification Template

Document ID:		1.2.840.113702.1.2.9.1

Version Date:		10/20/95

Application Entities Interconnectivity

Association Services  -  DIMSE C-ECHO Test

Level_2 Test-Case Specification Template

i)	Purpose:

To define a test case identified by a test design specification

ii)	Outline:

A test-case specification shall have the following structure:

1.	Test-case-specification identifier

2.	Test items

3.	Input specification

4.	Output specification

5.	Environmental needs

6.	Special procedural requirements

7.	Intercase dependencies

1.	Test-Case-Specification Identifier

The test-case-specification identifier shall be a unique identifier for both suppliers of the Application Entities to be tested.

| Test Case | Test Case Description | Test-Case-Specification Identifier |
| --- | --- | --- |
| C-ECHO | Test for connectivity at the Application Entity Level | Specified by testing team |

2.	Test Items

The test items involved are the two Application Entities being tested for interconnectivity.

For each test item, reference the following documentation:

Requirements specification

Design specification

Users guide

Operations guide

Installation guide

DICOM Standard, ACR/NEMA Standards Publication No. PS 3

The Conformance Statement of each Application Entity to be tested.

3.	Input Specifications

Specify each input required to execute the test case, by value, by filename, etc.

Identify all appropriate data bases, files, terminal messages, memory resident areas, etc.

Specify all relationships between inputs.

The input specifications required for testing the C-ECHO Upper Layer service shall be the user interaction required to cause the requester Application Entity to issue an C-ECHO request.

The assumptions for conducting this test are as follows:

1.	the ability to invoke the C-ECHO service is accessible to the operator

2.	the A-ASSOCIATE service has previously been successfully invoked.

4.	Output Specifications

Specify all the outputs and features required of the test items.

The output and features expected of the Application Entities for successful execution of the C-ECHO service are as follows:

Output:

Log files entries:

Event Level Information:

| Requester | Service Primitive Direction |  | Acceptor |
| --- | --- | --- | --- |
| C-ECHO request |  |  |  |
|  |  |  | C-ECHO indication |
|  |  |  | C-ECHO response |
| C-ECHO confirmation |  |  |  |

Features:

At this point, Association connectivity between the two Application Entities has been confirmed.

5.	Environmental Needs

5.1		Hardware

The computer system required for each of the Application Entities is as defined by the respective suppliers of the Application Entities.

The assumption is that the systems are networked together and therefore the appropriate hardware connections to the respective networks are required.

5.2		Software

The system and application software required for each of the Application Entities is as defined by the respective suppliers of the Application Entities.

The defined communication modes for DICOM are: 1) OSI,  2) TCP/IP,  3) Point-to-Point. The assumption is that each system has the appropriate communication software available to the Application Entity.

5.3		Other environmental requirements

6.	Special Procedural Requirements

7.	Intercase Dependencies

The A-ASSOCIATE service must be tested successfully before the C-ECHO DIMSE service can be invoked.