Guidelines for Cross-Vendor DICOM Testing

Title:			Application Entities Interconnectivity

Level_1 Test Incident Report Template

Document ID:		1.2.840.113702.1.1.5.1

Version Date:		12/28/95

Applications Entities Interconnectivity

Level_1 Test Incident Report Template

i.	Purpose

The purpose of the Test Incident Report is to document any event that occurs during the testing process which may require investigation.

ii.	Outline

A test-incident report shall have the following structure

(1)	Test-incident report identifier

(2)	Summary

(3)	Incident description

(4)	Impact

1.	Test-Incident Report Identifier

The Test Incident Report Identifier shall be a unique identifier for both suppliers of the Application Entities being tested.

2.	Summary

Summarize the incident. Identify the Application Entities involved, indicating their version/revision level. Reference the appropriate test-procedure specification, test-case specification, and test log.

3.	Incident Description

Provide a description of the incident. The incident description should include the following items:

Inputs

Expected results

Anomalies

Date and time

Procedure step

Environments

Attempts to repeat

Testers

Observers

Related activities and observations that may help to isolate and correct the cause of the incident should be included.

4.	Impact

If known, indicate the impact that this incident will have on test plans, test-design specifications, test-procedure specifications, or test-case specifications.