Guidelines for Cross-Vendor DICOM Testing

Title:			Application Entities Interconnectivity

Level_1 Test Log Report Template

Document ID:		1.2.840.113702.1.1.3.1

Version Date:		12/28/95

Applications Entities Interconnectivity

Level_1 Test Log Report Template

i.	Purpose

To provide a chronological record of relevant details about the execution of tests.

ii.	Outline

A test log shall have the following structure:

(1)	Test log identifier

(2)	Description

(3)	Activity and event entries

1.	Test-Log Identifier

The Test Log Identifier shall be a unique identifier for both suppliers of the Application Entities tested.  This Test Log Template has the ID: 1.2.840.113702.1.1.3.1.

2.	Description

The Test Log Description contains information which applies to all entries in the log.

(1) Identify the items being tested including version/revision levels. For each item, supply a reference to its transmittal report.

(2) Identify the attributes of the environments in which the testing is conducted. Include facility identification, hardware being used, system software used, and system resources available.

3.	Activity and Event Entries

For each event, including the beginning and end of activities, record the occurrence date and time and the identity of the author. The following items should be included:

3.1	Execution Description

Record the identifier of the test procedure being executed and supply a reference to the test specification. Record all responsible personnel present during the execution and their functions.

3.2	Procedure Results

For each execution, record the visually observable results (for example, error messages generated, aborts, and requests for operator action). Also record the location of any output.

3.3	Environmental Information

Record any environmental conditions specific to this entry.

3.4	Anomalous Events

Record what happened before and after an unexpected event occurred. Record circumstances surrounding the inability to begin execution of a test procedure or failure to complete a test procedure.

3.5	Incident-Report Identifiers

Record the identifier of each test-incident report, whenever one is generated.