Guidelines for Cross-Vendor DICOM Testing

Title:			Application Entities Interconnectivity

Level_1 Test Summary Report Template

Document ID:		1.2.840.113702.1.1.4.1

Version Date:		12/28/95

Applications Entities Interconnectivity

Level_1 Test Summary Report Template

i.	Purpose

To summarize the results of the designated activities and to provide evaluations based on these results.

ii.	Outline

A test-summary report shall have the following structure:

(1)	Test-summary report identifier

(2)	Summary

(3)	Variances

(4)	Comprehensive assessment

(5)	Summary of results

(6)	Evaluation

(7)	Summary of activities

(8)	Approvals

1.	Test-Summary Report

The Test Summary Identifier shall be a unique identifier for both suppliers of the Application Entities tested.

2.	Summary

Summarize the evaluation of the test items. Identify the items tested, indicating version, revision level. Indicate the environment in which the testing activities took place. For each test item, reference the following documents if they exist: test plan, test-design specification, test-procedure specifications, test-item transmittal reports, test logs, test-incident reports.

3.	Variances

Report any variances of the test items from their design specifications. Indicate any variances from the test plan, test designs, or test procedures.

4.	Comprehensiveness Assessment

Evaluate the comprehensiveness of the testing process against the comprehensiveness criteria specified in the test plan. Identify features or feature combinations which were not sufficiently tested and explain the reasons.

5.	Summary of results

Summarize the results of testing. Identify all resolved incidents and summarize their resolutions. Identify all unresolved incidents.

6.	Evaluation

Provide an overall evaluation of each test item including its limitations. This evaluation must be based upon the test results and the item level pass/fail criteria.

7.	Summary of Activities

Summarize the major testing activities and events. Summarize resource consumption data, for example, total staffing level, total machine time, and total elapsed time used for each of the major testing activities.

8.	Approvals

Specify the names and titles of all persons who must approve this report.